Aeration QA: A Local Question-Answering Assistant for Wastewater Aeration Control

[Your name] - COMP 560 project brief - October 2026

Project

Blower electricity is often more than half of a wastewater plant’s running cost, and the research on when aeration can safely be shortened or stopped is spread across papers that operators rarely have time to read. This project builds a retrieval-augmented generation (RAG) assistant that answers aeration-control questions in plain language and cites the paper and page behind every claim. It runs entirely on a CPU-only laptop with an open-weight 3-billion-parameter model (Qwen2.5-3B, quantized), with no paid API.

Research question: on a small corpus dense in rare technical terms (e.g. “ammonia valley”, “DO elbow”), does neural vector search actually retrieve better passages than simple keyword search (BM25), and is answer quality limited by retrieval or by the small model?

Dataset

The dataset is a corpus of open-access, peer-reviewed papers on aeration control in sequencing batch reactors (SBRs). Three papers are collected so far, with a target of 10–12:

- Abu Hasan et al. (2010), Int. J. Chemical Engineering: real-time detection of the DO elbow and ammonia valley in ORP, pH and DO sensor curves.

- Sakthivel et al. (2025), Current Research in Green and Sustainable Chemistry: eleven simulated aeration/anoxic schedules compared for nitrogen removal and energy.

- Hasan & Mizzouri (2026), ARO: city-wide optimization of aeration time across 15 full-scale SBR plants in Duhok, Iraq.

After automated text extraction (two-column reconstruction, references removed, ligatures repaired) the three papers yield about 15,600 words in 292 paragraph blocks, each tagged with paper, page and section. These will be cut into ~300-token passages for retrieval. Evaluation uses a hand-labelled set of questions, each paired with the passages that genuinely answer it.

Hypothetical outputs if the system works as intended

Illustrative only: the system is not built yet. Both answers are drawn from what the papers actually report.

Example 1 (answer from a single paper)

- Question: How can an operator tell when it is safe to stop aeration?

- Answer: When nitrification is complete. That moment shows up as a “DO elbow” in the ORP profile and an “ammonia valley” in the pH profile, followed by a new plateau in dissolved oxygen because nitrifiers stop consuming it [1]. In one biofilter trial, ammonia was fully removed after 7 hours, so aeration could have stopped at 7 h rather than running the full 24 h cycle [1].

- Sources: [1] Abu Hasan et al. 2010, pp. 5–6

Example 2 (answer combining two papers)

- Question: How much energy can be saved by changing how SBRs are aerated?

- Answer: A BioWin simulation of 15 full-scale plants found them over-aerated: cutting aeration to 1.9–2.5 h per cycle at most plants reduced aeration energy, cost and CO₂ by 58.7% while still meeting effluent limits for COD, BOD and TSS [1]. Switching from continuous to intermittent aeration cut energy by 21% while keeping total-nitrogen removal above 75% [2].

- Sources: [1] Hasan & Mizzouri 2026, p. 9; [2] Sakthivel et al. 2025, pp. 7, 9